## Sheet1
VELA |  |  |  | CLARA |  |  |  |  | PERSONNEL SAFETY
VACUUM |  |  |  | GUN |  |  |  |  | BASEMENT
MAGNETS |  |  | NEED TO LOOK INTO BUTTON |  | HRRG WATER CONTROL |  |  |  | ENABLE ACCELERATOR
RAPISCAN |  |  |  |  | RF GUN PROTECTOR |  |  |  | ACCELERATOR ROOM SEARCH
DIAGNOSTICS |  |  | COUPLE OF SCREENS APPEAR NOT TO BE IN USE |  | SCANDINOVA MODULATOR |  |  |  | BEAM AREA 1
| SCREENS AND SHUTTERS |  |  | LINAC 1 |  |  |  |  | BEAM AREA 2
| DIGITAL CAMERAS |  |  |  | WATER CONTROL |  |  |  | ROOF
| VELASCOPE 1 |  |  |  | RF LINAC PROTECTION |  |  |  | LASER ALLIGNMENT
| VELASCOPE 2 |  |  |  | DTI MODULATOR |  |  | CONVERTED BUT DOESN’T SEEM IN USE(missing pvs) | VELA RADIATION MONITORS
| EBT CHARGE DAQ |  | PROBABLY NOT IN USE ( MISSING PV's) | VACUUM
| EBT ICT DAQ |  | PROBABLY NOT IN USE ( MISSING PV's) |  | VACUUM
BA1 |  |  |  | MAGNETS
| BA1 MAGNETS |  |  |  | MAGNETS
| BA1 VACUUM |  |  |  | FEBE |  |  | CONVERTED BUT DOESN’T SEEM IN USE(missing pvs)
| BA1 MOTORS |  |  |  | GENERAL
| BA1 DIAGNOSTICS |  |  | DIAGNOSTICS
| BA1 LASER TABLE |  |  |  | CLARA DIAGNOSTICS SCREENS
|  | LASER MOTOR 01 | PROBABLY NOT IN USE ( MISSING PV's) |  | SCOPE 1
|  | LASER DELAY 01 |  | RF
| BA1 MOTOR PROTECTION |  |  |  | LINAC-1 KLYSTRON POWER (LIBERA) |  |  | CONVERTED BUT DOESN’T SEEM IN USE(missing pvs)
| BA1 GAS JET CONTROL |  |  |  | LINAC-1 CAVITY POWER (LIBERA) |  |  | CONVERTED BUT DOESN’T SEEM IN USE(missing pvs)
RF |  |  |  |  | LINAC-1 LOAD POWER (LIBERA) |  |  | CONVERTED BUT DOESN’T SEEM IN USE(missing pvs)
| SCANDINOVA MODULATOR |  | LOTS OF MISSING PV's |  | GUNS KLYSTRON POWER (LIBERA) |  |  | CONVERTED BUT DOESN’T SEEM IN USE(missing pvs)
| RF POWER |  | NOT IN USE ( MISSING PV's) |  | LRG1 CAVITY POWER (LIBERA) |  |  | CONVERTED BUT DOESN’T SEEM IN USE(missing pvs)
| RF POWER 2 |  | NOT IN USE ( MISSING PV's) |  | HRG1 CAVITY POWER (LIBERA) |  |  | CONVERTED BUT DOESN’T SEEM IN USE(missing pvs)
| RF POWER 3 |  | NOT IN USE ( MISSING PV's) |  | HRG1 CAVITY PROBE POWER (LIBERA) |  |  | CONVERTED BUT DOESN’T SEEM IN USE(missing pvs)
| RF POWER 4 |  | NOT IN USE ( MISSING PV's) |  | RF POWER 1 |  |  | CONVERTED BUT DOESN’T SEEM IN USE(missing pvs)
| RF DELAY GENERATOR |  | NOT IN USE ( MISSING PV's) |  | RF POWER 2 |  |  | CONVERTED BUT DOESN’T SEEM IN USE(missing pvs)
| RF POWER OVERVIEW |  | PROBABLY NOT IN USE ( MISSING PV's) |  | RF POWER 3 |  |  | CONVERTED BUT DOESN’T SEEM IN USE(missing pvs)
| RF POWER OVERVIEW 2 |  | PROBABLY NOT IN USE ( MISSING PV's) |  | RF POWER 4 |  |  | CONVERTED BUT DOESN’T SEEM IN USE(missing pvs)
| RF CAVITY TEMPERATURES |  | NOT IN USE ( MISSING PV's) |  | RF POWER 5 |  |  | CONVERTED BUT DOESN’T SEEM IN USE(missing pvs)
| GUN LLRF |  | PROBABLY NOT IN USE ( MISSING PV's) |  | RF POWER 6
| TDC LLRF |  | PROBABLY NOT IN USE ( MISSING PV's) |  | GUN HOLD RF ON |  |  | CONVERTED BUT DOESN’T SEEM IN USE(missing pvs)
| GUN LLRF EXPERT |  | PROBABLY NOT IN USE ( MISSING PV's) |  | LINAC01 HOLD RF ON |  |  | Linked so macros may need to be filled in the launcher
| TDC LLRF EXPERT |  | PROBABLY NOT IN USE ( MISSING PV's) | TIMING
LASER |  |  |  |  | 83 MHz SYNC CLOCK SELECTOR SWITCH |  |  | CONVERTED BUT DOESN’T SEEM IN USE(missing pvs)
| LASER MOTORS |  |  |  | REMOTE MAINS TRIGGER UNIT |  |  | CONVERTED BUT DOESN’T SEEM IN USE(missing pvs)
| LASER DELAY GEN |  | PROBABLY NOT IN USE ( MISSING PV's) | AIR CONDITIIONING
| LASER MOTORS DISPLAY |  |  | SCU
TIMING |  |  |  |  | SCU
| DELAY GENERATOR 1 |  | USES SAME SCREEN AS BA1 LASER TABLE - Need two with different macros on launch |  | SCU PLC STATUS |  |  | CONVERTED BUT DOESN’T SEEM IN USE(missing pvs)
| DELAY GENERATOR 1 KEEP ON |  | CONVERTED BUT DOESN’T SEEM IN USE |  | SCU MAGNETS |  |  | CONVERTED BUT DOESN’T SEEM IN USE(missing pvs)
COMISSIONING |  |  |  |  | SCU MOTORS |  |  | CONVERTED BUT DOESN’T SEEM IN USE(missing pvs)
| VACUUM COMISSIONING | [6 empty] | CONVERTED BUT DOESN’T SEEM IN USE(missing pvs)
| DIAGNOSTICS COMISSIONING |  |  |  | SCU ION PUMPS |  |  | CONVERTED BUT DOESN’T SEEM IN USE(missing pvs)
| TDC |  | PROBABLY NOT IN USE ( MISSING PV's) | COMMISSIONING
| CAMERA |  |  |  | PHASE 2
| REMOTE POWER SWITCH |  |  |  |  | PHASE 2 VACUUM GAGUES
PHASE 2 ION PUMPS
[6 empty] | PHASE 2 MAGNETS |  | SOME INCORRECT COLOURS
[6 empty] | PHASE 2 CORRECTORS |  | SOME INCORRECT COLOURS
[6 empty] | C39 PLC MONITORING |  | USE SAME SCREEN AS CLARA TIMING - ADD MACROS IN LAUNCHER
[6 empty] | 83 MHz SYNC CLOCK SELECTOR SWITCH |  | USE SAME SCREEN AS CLARA TIMING - ADD MACROS IN LAUNCHER
REMOTE MAINS TRIGGER SWITCH
CAHRGE DIAGNOSTICS SYSTEM
[7 empty] | CLARA CDS | USE SAME SCREEN - NEED TO ADD MACROS IN LAUNCHER
[7 empty] | EBT CDS | USE SAME SCREEN - NEED TO ADD MACROS IN LAUNCHER
[7 empty] | GLOBAL CDS | USE SAME SCREEN - NEED TO ADD MACROS IN LAUNCHER
WATER CONTROL
[5 empty] | MAGNETS |  |  | SOME INCORRECT COLOURS
[5 empty] | CORRECTORS |  |  | NEED TO WORK OUT WHAT TURNS VALVES INVISIBLE
VACUUM GAGUES
[5 empty] | RGAS |  |  | CANT EVEN FIND THIS FILE
TURBO PUMPS
MAGNETS GENERAL
PS TEST
POP IN MIRROR TEST
DIAGNOSTICS SCREENS 1-7
HE COLLIMATOR
LED ILLUMINATION
[5 empty] | CO9 DAQ FMC 1 |  |  | ALL SAME SCRREEN - NEED TO SET MACROS - DON’T LOOK USED
[5 empty] | CO9 DAQ FMC 2 |  |  | ALL SAME SCRREEN - NEED TO SET MACROS - DON’T LOOK USED
[5 empty] | B03 DAQ FMC 1 |  |  | ALL SAME SCRREEN - NEED TO SET MACROS - DON’T LOOK USED
[5 empty] | B03 DAQ FMC 2 |  |  | ALL SAME SCRREEN - NEED TO SET MACROS - DON’T LOOK USED
[5 empty] | T01 DAQ |  |  | ALL SAME SCRREEN - NEED TO SET MACROS - DON’T LOOK USED
[5 empty] | C18 DAQ |  |  | ALL SAME SCRREEN - NEED TO SET MACROS - DON’T LOOK USED
PCO CAMERAS
[6 empty] | VIRTUAL CATHODE |  | DOESN’T LOAD
[6 empty] | S01/SO2/C2V |  | DOESN’T LOAD
[5 empty] | ETHERCAT TEST |  |  | DOESN’T LOOK USED
L01 PID TEST
FEBE TEST LINE GAUGES ETC